## Sheet1
NON-Conforming bid submissions will be disqualified without consideration.
DIRECTIONS: Fill in the appropriate cost per unit for each item on the green highlighted cells | [11 empty] | Total Product Cost this Package: |  |  | 0
Please note that all pricing should be entered per UNIT. | [11 empty] | Total Freight Charges this Package: |  |  | 0
No substitutes accepted | [11 empty] | Grand Total for this Package: |  |  | 0
Item | Manufacturer | Description | Accessories | Lamp Type | Connector | Quantity | Unit | Unit Price | Total Product Cost | Freight Charge per Unit | Total Freight Charges | Installation Cost per Unit | Total Installation Cost | Total Price per Unit | Total Item Extended Price
STAGE LIGHTING FIXTURES | Electronic Theatre Controls #419 | 19° Ellipsoidal Reflector Spotlight | Matte Black Color Frame, Pipe Clamp, Safety Cable | HPL750/115 | 20A Stage Pin | 10 | ea |  | 0 |  | 0 |  | 0 | 0 | 0
STAGE LIGHTING FIXTURES | Electronic Theatre Controls #426 | 26° Ellipsoidal Reflector Spotlight | Matte Black Color Frame, Pipe Clamp, Safety Cable | HPL750/115 | 20A Stage Pin | 20 | ea |  | 0 |  | 0 |  | 0 | 0 | 0
STAGE LIGHTING FIXTURES | Electronic Theatre Controls #436 | 36° Ellipsoidal Reflector Spotlight | Matte Black Color Frame, Pipe Clamp, Safety Cable | HPL750/115 | 20A Stage Pin | 30 | ea |  | 0 |  | 0 |  | 0 | 0 | 0
STAGE LIGHTING FIXTURES | Electronic Theatre Controls #42550 | 25-50° Ellipsoidal Reflector Spotlight | Matte Black Color Frame, Pipe Clamp, Safety Cable | HPL750/115 | 20A Stage Pin | 30 | ea |  | 0 |  | 0 |  | 0 | 0 | 0
STAGE LIGHTING FIXTURES | Electronic Theatre Controls #FRES7 | 7” Fresnel | Matte Black Color Frame, Pipe Clamp, Safety Cable | HPL750/115 |  | 20 | ea |  | 0 |  | 0 |  | 0 | 0 | 0
STAGE LIGHTING FIXTURES | Altman #SSCYC100-RGBW-B, FT | LED Cyc Light | Pipe Clamps, Safety Cables (2), Floor trunion |  | 220A Stage Pin to PowerCon | 7 | ea |  | 0 |  | 0 |  | 0 | 0 | 0
STAGE LIGHTING FIXTURES | Philips #SL PAR 155 Zoom | LED Zoom PAR | Matte Black Color Frame, Pipe Clamp, Safety Cable |  | 20A Stage Pin to PowerCon | 35 | ea |  | 0 |  | 0 |  | 0 | 0 | 0
FIXTURE ACCESSORIES | ETC #470LT | 70° Lens Tube for Ellipsoidal Reflector Spotlight |  |  |  | 5 | ea |  | 0 |  | 0 |  | 0 | 0 | 0
FIXTURE ACCESSORIES | City Theatrical #2150 | A-Size Template Holder for Ellipsoidal Reflector Spotlight |  |  |  | 30 | ea |  | 0 |  | 0 |  | 0 | 0 | 0
FIXTURE ACCESSORIES | City Theatrical #2250 | Donut for Ellipsoidal Reflector Spotlight |  |  |  | 10 | ea |  | 0 |  | 0 |  | 0 | 0 | 0
FIXTURE ACCESSORIES | City Theatrical #2180 | Drop-In Iris for Ellipsoidal Reflector Spotlight |  |  |  | 5 | ea |  | 0 |  | 0 |  | 0 | 0 | 0
FIXTURE ACCESSORIES | City Theatrical #2840 | Stackable Top Hat for 19°-50° Ellipsoidal Reflector Spotlight |  |  |  | 30 | ea |  | 0 |  | 0 |  | 0 | 0 | 0
FIXTURE ACCESSORIES | City Theatrical #2841 | Stackable Half Hat for 19°-50° Ellipsoidal Reflector Spotlight |  |  |  | 10 | ea |  | 0 |  | 0 |  | 0 | 0 | 0
FIXTURE ACCESSORIES | City Theatrical #2488 | Barndoor for 7” Fresnel and Showline PAR |  |  |  | 40 | ea |  | 0 |  | 0 |  | 0 | 0 | 0
FIXTURE ACCESSORIES | City Theatrical #2350 | Spare Color Frame for 19°-50° Ellipsoidal Reflector Spotlight |  |  |  | 20 | ea |  | 0 |  | 0 |  | 0 | 0 | 0
FIXTURE ACCESSORIES | City Theatrical #2487 | Spare Color Frame for 7” Fresnel and Showline PAR |  |  |  | 10 | ea |  | 0 |  | 0 |  | 0 | 0 | 0
FIXTURE ACCESSORIES | ETC #400CC | Spare C-Clamp |  |  |  | 5 | ea |  | 0 |  | 0 |  | 0 | 0 | 0
FIXTURE ACCESSORIES | ETC #400SC | Spare Safety Cable |  |  |  | 50 | ea |  | 0 |  | 0 |  | 0 | 0 | 0
LAMPS |  | HPL 750W/115V long life |  |  |  | 200 | ea |  | 0 |  | 0 |  | 0 | 0 | 0
LIGHTING CONTROL CONSOLE |  | Electronic Theatre Controls Ion 1000 w/ 2x20 Fader Wing |  |  |  | 1 | ea |  | 0 |  | 0 |  | 0 | 0 | 0
LIGHTING CONTROL CONSOLE |  | Portable uninterruptible power supply, APC Smart-UPS 750VA. |  |  |  | 1 | ea |  | 0 |  | 0 |  | 0 |  | 0
LIGHTING CONTROL CONSOLE |  | IEC C13 to C14 power cords, 10’-0” (3m) length. |  |  |  | 4 | ea |  | 0 |  | 0 |  | 0 |  | 0
LIGHTING CONTROL CONSOLE |  | 8 GB capacity USB storage keys, ETC #I6209 or approved equal. |  |  |  | 2 | ea |  | 0 |  | 0 |  | 0 |  | 0
PORTABLE DIMMING & POWER DISTRIBUTION | ETC # S4DIM, S4DIM-Jr, S4DIM-Par | Source Four Dimmer | Yoke Mount Bracket |  | 20A Stage Pin | 110 | ea |  | 0 |  | 0 |  | 0 | 0 | 0
CABLE ASSEMBLIES |  | DMX512 cable assemblies of 5’-0” (1.5M) length, red color code. |  |  |  | 80 | ea |  | 0 |  | 0 |  | 0 | 0 | 0
CABLE ASSEMBLIES |  | DMX512 cable assemblies of 10’-0” (3M) length, green color code. |  |  |  | 60 | ea |  | 0 |  | 0 |  | 0 | 0 | 0
CABLE ASSEMBLIES |  | DMX512 cable assemblies of 25’-0” (8M) length, purple color code. |  |  |  | 40 | ea |  | 0 |  | 0 |  | 0 | 0 | 0
CABLE ASSEMBLIES |  | DMX512 cable assemblies of 50’-0” (15M) length, orange color code. |  |  |  | 2 | ea |  | 0 |  | 0 |  | 0 | 0 | 0
CABLE ASSEMBLIES |  | Ethernet cable assemblies of 5’-0” (1.5M) length, red color code. |  |  |  | 5 | ea |  | 0 |  | 0 |  | 0 |  | 0
CABLE ASSEMBLIES |  | Ethernet cable assemblies of 10’-0” (3M) length, green color code. |  |  |  | 5 | ea |  | 0 |  | 0 |  | 0 |  | 0
CABLE ASSEMBLIES |  | Ethernet cable assemblies of 25’-0” (8M) length, purple color code |  |  |  | 2 | ea |  | 0 |  | 0 |  | 0 |  | 0
CABLE ASSEMBLIES |  | Stage Pin Extension assemblies of 5’-0” (1.5M) length, red color code. |  |  |  | 40 | ea |  | 0 |  | 0 |  | 0 | 0 | 0
CABLE ASSEMBLIES |  | Stage Pin Extension assemblies of 10’-0” (3M) length, green color code. |  |  |  | 50 | ea |  | 0 |  | 0 |  | 0 | 0 | 0
CABLE ASSEMBLIES |  | Stage Pin Extension assemblies of 25’-0” (8M) length, purple color code. |  |  |  | 40 | ea |  | 0 |  | 0 |  | 0 | 0 | 0
CABLE ASSEMBLIES |  | Stage Pin Extension assemblies of 50’-0” (15M) length, orange color code. |  |  |  | 5 | ea |  | 0 |  | 0 |  | 0 | 0 | 0
CABLE ASSEMBLIES |  | Edison Extension assemblies of 25’-0” (8M) length, purple color code. |  |  |  | 3 | ea |  | 0 |  | 0 |  | 0 |  | 0
CABLE ASSEMBLIES |  | Edison Extension assemblies of 50’-0” (15M) length, orange color code. |  |  |  | 2 | ea |  | 0 |  | 0 |  | 0 |  | 0
CABLE ASSEMBLIES |  | PowerCon jumper assemblies of 5’-0” (1.5M) length, red color code |  |  |  | 40 | ea |  | 0 |  | 0 |  | 0 | 0 | 0
CABLE ASSEMBLIES |  | PowerCon jumper assemblies of 10’-0” (3M) length, green color code. |  |  |  | 40 | ea |  | 0 |  | 0 |  | 0 | 0 | 0
CABLE ASSEMBLIES |  | Stage Pin Two-Fer assemblies of 36” (1M) length. |  |  |  | 40 | ea |  | 0 |  | 0 |  | 0 |  | 0
CABLE ASSEMBLIES |  | Female Edison to male stage pin Adapter assemblies of 36” (1M) length. |  |  |  | 5 | ea |  | 0 |  | 0 |  | 0 | 0 | 0
CABLE ASSEMBLIES |  | Male Edison to female stage pin Adapter assemblies of 36” (1M) length. |  |  |  | 5 | ea |  | 0 |  | 0 |  | 0 | 0 | 0
CABLE ASSEMBLIES |  | Male Edison to PowerCon Adapter assemblies of 5’-0” (1.5M) length. |  |  |  | 5 | ea |  | 0 |  | 0 |  | 0 | 0 | 0
STAGE HARDWARE |  | City Theatrical Track Tamer with Hex Nut, #520 |  |  |  | 10 | ea |  | 0 |  | 0 |  | 0 | 0 | 0
STAGE HARDWARE |  | City Theatrical Track Tamer with Galvanized Clamp, #525 |  |  |  | 10 | ea |  | 0 |  | 0 |  | 0 | 0 | 0
TOOLS, STORAGE, & SUPPLIES |  | Heavy Duty 30” x 30” Cable Trunk w/ 4” Casters |  |  |  | 1 | ea |  | 0 |  | 0 |  | 0 | 0 | 0
TOOLS, STORAGE, & SUPPLIES |  | Fluke #179/1AC-II Multimeter Kit |  |  |  | 1 | ea |  | 0 |  | 0 |  | 0 | 0 | 0
TOOLS, STORAGE, & SUPPLIES |  | GamChek Stage Pin Circuit Tester |  |  |  | 1 | ea |  | 0 |  | 0 |  | 0 | 0 | 0
TOOLS, STORAGE, & SUPPLIES |  | Psiber LanMaster LM35 Power & Link Tester |  |  |  | 1 | ea |  | 0 |  | 0 |  | 0 | 0 | 0
TOOLS, STORAGE, & SUPPLIES |  | TMB ProTester DMX Tester |  |  |  | 1 | ea |  | 0 |  | 0 |  | 0 | 0 | 0
TOOLS, STORAGE, & SUPPLIES |  | 5-Pin DMX Terminator |  |  |  | 10 | ea |  | 0 |  | 0 |  | 0 | 0 | 0
TOOLS, STORAGE, & SUPPLIES |  | Stage Pin Connector Pin Splitter |  |  |  | 1 | ea |  | 0 |  | 0 |  | 0 | 0 | 0
TOOLS, STORAGE, & SUPPLIES |  | Spare 2 Pin & Ground Stage Pin Connectors (Male) |  |  |  | 5 | ea |  | 0 |  | 0 |  | 0 | 0 | 0
TOOLS, STORAGE, & SUPPLIES |  | Spare 2 Pin & Ground Stage Pin Connectors (Female) |  |  |  | 5 | ea |  | 0 |  | 0 |  | 0 | 0 | 0
TOOLS, STORAGE, & SUPPLIES |  | 2”x180’ Black Gaffers Tape |  |  |  | 2 | ea |  | 0 |  | 0 |  | 0 | 0 | 0
TOOLS, STORAGE, & SUPPLIES |  | 2”x75’ Blacktak Masking Foil |  |  |  | 1 | ea |  | 0 |  | 0 |  | 0 |  | 0
TOOLS, STORAGE, & SUPPLIES |  | 3000’ Spool 1/8” Black Cotton Unglazed Tie-Line |  |  |  | 1 | ea |  | 0 |  | 0 |  | 0 |  | 0
TOOLS, STORAGE, & SUPPLIES |  | Rip-Tie Cable Wrap, 1”x6” (10 pack) |  |  |  | 10 | ea |  | 0 |  | 0 |  | 0 |  | 0
TOOLS, STORAGE, & SUPPLIES |  | Rip-Tie Cable Wrap, 1”x14” (10 pack) |  |  |  | 10 | ea |  | 0 |  | 0 |  | 0 |  | 0